# Al Noor General Hospital

MOCK ENTERPRISE DOCUMENT — FOR RAG / AI TESTING ONLY

# Laboratory Specimen Collection & Reporting SOP

Document ID: ANGH-05_ | Department: 02_Pharmacy_and_Laboratory

Version: 2.1 | Effective Date: 01 September 2026 | Review Date: 01 September 2027

Owner: Hospital Operations & Quality Directorate | Classification: Internal

## Purpose

Ensures specimen identification, collection, transport, analysis, result validation, and reporting are controlled.

## Specimen Collection

Verify patient using two identifiers.

Label specimen immediately at the collection point.

Record collection time and collector identity.

Reject specimens that are unlabeled, mismatched, leaking, or unsuitable for the requested test.

## Critical Results

Critical laboratory results are communicated to the responsible clinical team immediately and read-back is documented.

## Turnaround Times

Routine CBC target: ≤90 minutes. Routine chemistry target: ≤120 minutes. Urgent tests follow department-specific escalation targets.

## Quality Controls

Daily internal quality controls are reviewed before releasing affected analytical results. External quality assessment participation is maintained for applicable tests.

## Governance

All departments follow the Hospital Policy Governance Standard. Exceptions require documented approval from the responsible director and Quality Directorate.

## Escalation Matrix

Operational issues are escalated first to the department supervisor, then department head, and finally the relevant executive or on-call leader depending on severity.

## Related Keywords

Laboratory Specimen Collection & Reporting SOP, 02_Pharmacy_and_Laboratory, Al Noor General Hospital, SOP, policy, approval, escalation, audit, KPI, patient safety