# Al Noor General Hospital

MOCK ENTERPRISE DOCUMENT — FOR RAG / AI TESTING ONLY

# Facilities Maintenance & Biomedical Equipment SOP

Document ID: ANGH-12_ | Department: 05_Facilities_and_Supply_Chain

Version: 2.1 | Effective Date: 01 September 2026 | Review Date: 01 September 2027

Owner: Hospital Operations & Quality Directorate | Classification: Internal

## Purpose

Defines preventive maintenance, corrective maintenance, biomedical equipment control, utilities monitoring, and work-order management.

## Work Orders

Staff submit maintenance requests through the facilities system.

Requests are classified as emergency, urgent, or routine.

Emergency failures affecting patient safety or critical utilities receive immediate escalation.

## Preventive Maintenance

Maintenance schedules are maintained for generators, HVAC, medical gas systems, lifts, fire systems, and biomedical equipment.

## Biomedical Equipment

Equipment is tagged with asset ID, location, service status, calibration requirements, and maintenance history. Failed equipment is removed from clinical use until cleared.

## KPIs

Critical equipment preventive-maintenance completion ≥95%. Emergency work-order response target ≤15 minutes.

## Governance

All departments follow the Hospital Policy Governance Standard. Exceptions require documented approval from the responsible director and Quality Directorate.

## Escalation Matrix

Operational issues are escalated first to the department supervisor, then department head, and finally the relevant executive or on-call leader depending on severity.

## Related Keywords

Facilities Maintenance & Biomedical Equipment SOP, 05_Facilities_and_Supply_Chain, Al Noor General Hospital, SOP, policy, approval, escalation, audit, KPI, patient safety